POOL, JACUZZI, WET AREA, SAUNA & STEAM ROOM DAILY OPENING HSE CHECKLIST

Tick the relevant box each day to confirm that the appropriate action/check has been carried out and record any required actions

UNIT:								   UNIT NO: 						WEEK COMMENCING:

| Safety & Security Checks |  | Monday |  |  |  | Tuesday |  | Wednesday |  | Thursday |  | Friday |  | Saturday |  | Sunday |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Yes |  | No |  | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No |
| - Are emergency exits unlocked, clear and operational? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Are CCTV, alarms and communication systems working correctly? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Is rescue equipment present? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: Poles, throw bags, buoyancy aids etc. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Housekeeping & Cleanliness |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Have all floors been checked for slip and trip hazards? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: Remove any excessive or standing water |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Are all anti-slip mats positioned correctly? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: Not lifted or saturated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Are bins empty and has waste been removed? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Are all required consumables available? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: Soap, sanitiser, toilet tissue, paper towels & drinking water (if applicable) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Are changing areas and showers clean and tidy? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: lockers, benches, sinks, towel bins, toilets, drains etc. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Swimming Pool & Wet Area Checks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Have pool deck and wet areas been inspected for slip and trip hazards? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Are ladders and handrails secure? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Is water clarity acceptable? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: Routine chemistry check alongside visibility checks. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Are overflow channels and skimmers clear? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: Empty the skimmer basket as per SOP to prevent clogs that reduce pump suction. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Swimming Pool & Wet Area Checks Cont. |  | Monday |  |  |  | Tuesday |  | Wednesday |  | Thursday |  | Friday |  | Saturday |  | Sunday |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Yes |  | No |  | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No |
| - Is the water surface free of debris? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Where applicable, are lane ropes and pool equipment correctly positioned? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Are poolside emergency panic buttons/communication systems operational? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sauna Checks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Is the sauna operating at the required temperature? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: Check timer and thermostat settings. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Are the emergency stop/alarm systems working correctly? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Is the sauna clean and without visible damage? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: Heater guards, sauna stones, benches/seating, timber surfaces, door handles and hinge. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Steam Room Checks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Is the steam room operating at the required temperature and humidity? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Are the emergency stop/alarm systems working correctly? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Are the steam outlet guards in place and secure? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Is the area clean with no visible damage? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: Seating and walls for mould or mildew. Ensure drains are functioning. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Spa Pool/Jacuzzi Checks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Are ladders and handrails secure? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Are poolside emergency panic buttons/communication systems operational? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Is the water clarity acceptable and are drains visible and clear? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: Check for unusual odours, foam, or discoloration |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - If applicable, are emergency shut-off switches operational? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Is the area is clean with no visible damage? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Guidance: Clean surrounding deck and anti-slip surfaces. Remove debris from water and overflow channels. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Actions Required: |  |
| --- | --- |
| Checked By: | Date: |