## Example Water RA Template
Central Production Unit Food Safety & Quality Management System Water Microbiological Risk Assessment
Risk Reduction Plan
Site Water Point Information |  |  |  | Internal Maintenance & Inspections |  | Risk Assessment Questions | [6 empty] | Laboratory Testing Information |  |  |  | Testing Schedule
Site Area | Site Sub Area | Sample Point Description | Tap Type | Water Type | Water softener | Risk question 1 - is the water in direct contact with food or added as an ingredient? e.g. ice, ingredient (Quarterly Monitoring) | Risk question 2 – is the water in contact with people or equipment used in the high care operation but not in direct contact with food? e.g. hand wash, equipment cleaning (6 Monthly Monitoring) | Risk question 3 – is the water used in this area not related to the production operation? e.g. floor washing, no production area. (Annual Monitoring) | Comments | Likelihood | Severity | RISK LEVEL | Laboratory Suite | Suite Description | Testing Spec Applied | Sampling Comments | October | November | December | January | February | March | April | May | June | July | August | September
Reception Male Toilets | Ground Floor Staff Areas | Handwash Sink |  | Potable. Local water supplied by United Utilities. Reports reviewed on an annual basis. |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
Reception Female Toilets | Ground Floor Staff Areas | Handwash Sink |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
Main Corridor Male Toilets | Ground Floor Staff Areas | Handwash Sink |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
Main Corridor Female Toilets | Ground Floor Staff Areas | Handwash Sink |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
Fist Aid Room Hot and Cold Taps | Ground Floor Staff Areas | Handwash Sink |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
Cleaning Cupboard Hot and Cold Taps | Ground Floor Staff Areas | Utensils Sink |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
Canteen Hot and Cold Taps | Ground Floor Staff Areas | Utensils Sink |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
Test Kitchen Hot and Cold Taps | Ground Floor Staff Areas | Utensils Sink |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
Warehouse Entrance Hot and Cold Taps | Ground Floor Staff Areas | Handwash Sink |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
Drinks Tap Stores Entrance | Ground Floor Staff Areas | Tap |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
First Floor- Kitchen Taps | 1st Floor Staff Areas | Utensils Sink |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
First Floor- Male Changing Room Wash Basins | 1st Floor Staff Areas | Handwash Sink |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
First Floor- Male Changing Showers | 1st Floor Staff Areas | Shower |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
First Floor-Female Changing Room Wash Basins | 1st Floor Staff Areas | Handwash Sink |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
First Floor Female Changing Showers | 1st Floor Staff Areas | Shower |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
Despatch Corridor Hot and Cold Water Taps | Warehouse | Handwash Sink |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
Warehouse Garage Chiller Tap | Warehouse | Handwash Sink |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
Warehouse Waste Hatch Wash Basin | Warehouse | Handwash Sink |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
Chemical Room Hot and Cold Taps | Warehouse | Handwash Sink |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
Disused Toilets near Garage Chiller Taps | Warehouse | Handwash Sink |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas. Taps and Toilets ran monthly by site engineer
Cold Water Tap at Goods in Entrance | Warehouse | Tap |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
Cold Water Supply in Wash Room | Warehouse | Tap |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
Defrost Room Tap | Warehouse | Tap |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
Loading Bay Tap | Outdoors | Tap |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
Production Changing Room Hot and Cold Taps (knee press) | Production Entrance | Tap |  |  |  | No | Yes | No |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.
Production Hand Wash Basins near Entrance | Production Hall | Tap |  |  |  | No | Yes | No |  | 2 | 3 | 6 | PORTABLE |  |  | Annual Water Testing conducted in production area | Testing Schedule November: 2023-11-01
Pot wash Hot and Cold Taps and Spray Nozzle | Production Hall | Utensils Sink/Hose |  |  |  | No | Yes | No |  | 2 | 3 | 6 | PORTABLE |  |  | Annual Water Testing conducted in production area | Testing Schedule February: 2024-02-01
Esteem Room Hot and Cold Water Tap | Production Hall | Handwash Sink |  |  |  | No | Yes | No |  | 2 | 3 | 6 | PORTABLE |  |  | Annual Water Testing conducted in production area | Testing Schedule August: Aug-2024 Legionella
Esteem Room Utensil Wash Sink | Production Hall | Utensils Sink |  |  |  | No | Yes | No |  | 2 | 3 | 6 | PORTABLE |  |  | Annual Water Testing conducted in production area | Testing Schedule February: 2024-02-01
Prep Area Potable Tap | Production Hall | Tap |  |  |  | Yes | Yes | No |  | 3 | 3 | 9 | PORTABLE |  |  | Food Contact - 6 monthly testing | Testing Schedule November: 2023-11-01; Testing Schedule May: 2024-05-01
Tap next to Packaging Hatch | Production Hall | Tap |  |  |  | No | Yes | No |  | 2 | 3 | 6 | PORTABLE |  |  | Annual Water Testing conducted in production area | Testing Schedule May: 2024-05-01
Tap Between PA and PA3 | Production Hall | Tap |  |  |  | No | Yes | No |  | 2 | 3 | 6 | PORTABLE |  |  | Annual Water Testing conducted in production area | Testing Schedule August: 2024-08-01
Prep Area Spray Gun | Hose( Production Hall) | Hose |  |  |  | No | Yes | No |  | 2 | 3 | 6 | PORTABLE |  |  | Annual Water Testing conducted in production area | Testing Schedule August: 2024-08-01
Tap by Outdoor Canteen Door | Outdoors | Tap |  |  |  | No | No | Yes |  | 1 | 3 | 3 | PORTABLE |  |  | Testing for investigation only if OOS results identified in open product areas.

## Document control
Document Control
Document name: | Water Microbiological Risk Assessment
Document reference: | CPU.FS.RA.003.01
Date of 1st Issue: | 19 August 2024
Author: | Food Safety
Version number: | 1
Revision Record |  | Version
Date of Revision | Revision Details