[Site]

In Service Inspection and Testing of Electrical Equipment (PAT)

Logbook

[Year]

Contents

Section 1		Introduction

Section 2		Procedure(s)

Section 3		Schedule of Inspections and Tests

Section 4		Skilled and Competent Persons Register

Section 5		Test Equipment Register

Section 6		Inspection and Test Record Sheets

Section 7		Comments and Remedial Actions

Section 8		Equipment Location List

Section 9

Section 10		HSG 104

In Service Inspection and Testing of Electrical Equipment Testing Logbook

There is a requirement under the Electricity at Work Regulations that electrical systems and equipment must be maintained, so far as reasonably practicable, to prevent danger. HSE Guidance Note HSG107 states that “This requirement covers all items of electrical equipment including fixed or portable equipment”.

Maintenance

HSG107 outlines 3 levels of maintenance of Electrical Equipment:

User Checks

38 The person using the equipment should be encouraged to look at it before use.

39 These checks also apply to extension leads, plugs and sockets. A user check should be made when the equipment is taken into use and during use.

Formal Visual Inspection

40 An important part of a maintenance regime is the formal visual inspection. Such inspections are necessary because they can reveal most potentially dangerous faults.

Combined inspection and test (PAT)

47 The checks and inspections outlined in the previous paragraphs should reveal most potentially dangerous faults. However, some faults, such as loss of earth integrity, deterioration of insulation integrity, or contamination of internal and external surfaces, cannot be detected by visual examination alone.

Further details of the above maintenance requirements can be found in HSG107, held in Section 10 of this Logbook.

Record Keeping

HSG107 (52) States that although “There is no legal requirement to keep maintenance logs for portable electrical equipment. However, a suitable log is useful as a management tool for monitoring and reviewing the effectiveness of the maintenance plan”.

This Logbook and any labelling of Tested Electrical Equipment are designed to such monitoring.

Frequencies

HSG107 (55) States that “Determining the frequency of inspection and testing is a matter of judgement by the duty holder and should be based on an assessment of risk”.

This duty is held by the site Operational Manager, and such Risk Assessment should consider the following:

- The environment

- The users

- The equipment class of construction

- The frequency of use

- Type of installation methods

- Previous records

Where no previous records are available HSG107 includes Table 1 (shown below) which provides suggested initial maintenance intervals

Schedule of Inspection and Testing of Electrical Equipment

| Area | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | T |  |  |  |  |  | I |  |  |  |  |  |
|  | T |  |  |  |  |  | I |  |  |  |  |  |
|  | T |  |  |  |  |  | I |  |  |  |  |  |
|  | T |  |  |  |  |  | I |  |  |  |  |  |

Test :	TIT  Formal Inspection    IT I  Combined Inspection and Test

| Skilled and Competent Persons Register |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Name | Employed By | Competent Persons |  | Skilled Persons |  | Tasks Authorised (CP) or Completed (SkP) |
|  |  | CP Level | Appointment Date | Authority to Work No | Issue Date |  |

| Test Equipment Register |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Test Equipment Details |  |  | Inspection “I” and Calibration “C” Record |  |  |  |  |  |
| Make | Model | Serial Number | Date (“I” or “C”) | Date (“I” or “C”) | Date (“I” or “C”) | Date (“I” or “C”) | Date (“I” or “C”) | Date (“I” or “C”) |

Electrical Equipment In-Service Inspection and Test Record (PAT)

| Contract: |  |  |  | Site: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Tester Name |  |  |  | Signature: |  | Test Date: |  |
| Test Equipment Make: |  | Model: |  | Serial No: |  | Calibration Due: |  |

| Item Ref | Equipment Description | Equipment Location | Equipment Class | Fuse Rating A | Visual Inspection (P/F) | Earth Continuity Ω | Insulation Resistance MΩ | Current Leakage mA | Result (P/F) | Note Number |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Visual Inspections and Results “P” Pass / “F” Fail

| Item Ref | Equipment Description | Equipment Location | Equipment Class | Fuse Rating A | Visual Inspection (P/F) | Earth Continuity Ω | Insulation Resistance MΩ | Current Leakage mA | Result (P/F) | Note Number |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Visual Inspections and Results “P” Pass / “F” Fail

Electrical Equipment In-Service Inspection Comments and Remedial Actions

| Note Number | Equipment Description | Equipment Location | Comments |
| --- | --- | --- | --- |

Electrical Equipment Location List

| Item Reference | Item Description | Item Location |
| --- | --- | --- |