The frequency of carrying out checks may also be dependent on weather conditions.

| Inspection | Yes/No/ NA | Action Required | By Who | By When | Actioned |
| --- | --- | --- | --- | --- | --- |
| Is the tank system free of visual signs of damage (cracks, dents, corrosion or leakage): Tank exterior – including small cracks in concrete exterior or rusting on steel components? Piping, hoses, valves, fittings or connections? Tank and piping mounts, supports and foundations? (also check under tank if possible) |  |  |  |  |  |
| Is the secondary containment leak detection system alarm and light properly operating? (test the alarm panel) |  |  |  |  |  |
| Is equipment functioning properly (test or cycle if possible): Pumps, valves and connections? High-level alarm (at the tank and at fill port area) and the tanks’ fuel level gauge? |  |  |  |  |  |
| Is the tank area (and entire security fenced area) clean and free of leaves, trash or other debris? |  |  |  |  |  |
| Are the tank, tank fill box interior and immediate area around the tank free of oil/fuel spill residues or other indications of leakage or spillage? |  |  |  |  |  |
| Is there a presence of accumulated rainwater within uncovered bunds? |  |  |  |  |  |
| Is the tank contents signage clear and legible? |  |  |  |  |  |
| Inspection | Yes/No/ NA | Action Required | By Who | By When | Actioned |
| Is the Warning signage clear and legible? |  |  |  |  |  |
| Is the No Smoking signage clear and legible? |  |  |  |  |  |
| Is the tank secured from vandalism/gate locked? |  |  |  |  |  |
| Are the spill kit/control supplies present and well stocked? |  |  |  |  |  |
| Is all associated pipe work rigidly supported? |  |  |  |  |  |

COMPLETED BY: ………………………………………DATE COMPLETED:…………